## Slide 1: Vagus nerve stimulator for clinically induceD asystole
Team members
Sanika Phatak
Kushal Sreenuprasad
Teresa George

## Slide 2: The Device
Patent No.: US 7,072,720 B2 Puskas (45)
Date of Patent: July. 4, 2006
The device helps to achieve Controlled Intermittent Asystole(CIA) of the heart by means of vagus nerve stimulation.

## Slide 3: THE vagus nerve
Left vagus nerve: Innervates the AV node and its stimulation causes AV blocks.
Right vagus nerve: Innervates the SA node and its stimulation causes bradyarrhythmias.
Notes: The vagus nerve is the tenth cranial nerve or CN X It is the longest nerve of the autonomic nervous system.
It interfaces with the parasympathetic control of the heart, lungs, and digestive tract.
The lowering of the heart rate is mediated by the stimulation of the vagus nerve.

## Slide 4: Coronary artery bypass GRAFT surgery (CABG)
Cardiopulmonary bypass(CBP) machine used to stop the heart.
Notes: Coronary artery bypass grafting (CABG) is a procedure to improve the blood flow to the heart following a coronary artery blockage.
The heart is stopped during the procedure using a Heart lung machine.

## Slide 5: Minimally invasive direct coronary artery bypass surgery (MIDCABG)
Advantages of MIDCABG over CABG:
Less invasive procedure
Easier to perform.
Quicker recovery period.
Heart rate brought back to normal quicker due to use to vagus nerve stimulator over CPB.
Notes: MIDCAB is performed through the creation of a tiny, two-and-a-half inch opening between two ribs in the left side of the chest.

## Slide 6: Device used in MIDCABG
SIMILARITY?
CABG: Complete cadioplaegia using CPB
MIDCABG: Partial cardioplaegia using Vagus nerve stimulation
Pharmacological/chemical suppression is necessary!
Difference in Asystole occurrence
CABG vs MIDCABG

## Slide 7: Complete system
Interrogator
Pulse generator
Cardiac pacemaker
Cardiac monitor
Logic circuitry

## Slide 8: Electrodes
Balloon electrodes
Cutaneous electrodes
Clipping electrode

## Slide 9
2002 2006 - Interrogator
LOGIC
DECISION
Electrode A
Electrode B
Electrode C
Electrode D

## Slide 10: Pharmacological suppression and clinical results
Acetylcholinesterase Inhibitor
Beta-Adrenergic blockers
Calcium channel blockers

## Slide 11: MATLAB SIMULATION

## Slide 12: Working
Electrode 1
Electrode 2
Pulse generator
2 neurons - large diameter
3 neurons - small diameter
Stimulus threshold - 500uA
Stimulus threshold - 1mA
S.A./A.V nodes inhibited
Inhibits if AP> V_threshold
Inhibits if AP> V_threshold
Flatline
Requires small stimulus current but AP generated is also small
Requires larger stimulus current and AP generated is large

## Slide 13: AP’s generated from both regions
Sum of APs’ from Region 1: 2 neurons
Sum of APs’ from Region 2:3 neurons

## Slide 14: Application - screenshots
Normal ECG
Flatline after stimulating from Electrode 1
Flatline after stimulating from Electrode 2

## Slide 15: Improvements required in simulation
The neuron stimulation in a region takes a very long time (1-2 minutes) the code needs to be optimised.
The Automatic mode which is the simulation of how the interrogator works is very slow due to lag in stimulation. In reality this is a very fast process.
The pulse generator used is inbuilt and the current is assumed to be constant which is not the case in reality where a controlled current source is required.